## Notes
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
NOTES TO BIDDERS
1. This Bill of Quantities states scheduled quantities only. NO PRICES ARE TO BE ENTERED IN THIS DOCUMENT.
2. Pricing shall be presented in Document 8, Pricing Schedule.
3. Quantities are provided for the convenience of Bidders and for the valuation of Variations.
4. The Contract is a lump sum contract. The Contractor shall satisfy itself as to the quantities required.
5. Where an item is necessary to render the Works complete and operational and is not scheduled, it shall be deemed included (SOW-2.4).
6. Units: LF = linear feet SF = square feet CY = cubic yards No = number Set = lot
7. Each item shall be read together with the corresponding clause of Document 4, Technical Specification.

## A - PIDS
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
A.01 | Taut-wire perimeter intrusion detection fence, 20-wire, complete with detector posts at 10 ft centres, tensioners, and zone controllers | LF | 8200
A.02 | Zone controller, weatherproof, complete with communications interface | No | 25
A.03 | Patrol road, 12 ft wide, compacted aggregate, including sub-base and drainage | LF | 8200
A.04 | Fibre-optic fence sensing system to visually obstructed boundary, complete with processor | LF | 1800
A.05 | Detection continuation across gate openings | No | 5
A.06 | Hot-dip galvanised and powder coated detector post, complete with foundation | No | 820
A.07 | Anti-climb collar to detector post | No | 820
A.08 | Concrete protective bollard to detector post at container-handling interface | No | 64
A.09 | Restricted area signage to 33 CFR 105.275, bilingual, at 100 ft centres | No | 82
A.10 | Earthing and lightning protection to detector posts | LF | 8200
A.11 | Route marker post to buried cable | No | 164
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## B - Video Surveillance
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
B.01 | Fixed network camera, AI object classification, perimeter detection duty | No | 46
B.02 | PTZ network camera, 36x optical zoom, perimeter assessment duty | No | 5
B.03 | Fixed network camera, pre-gate lane duty | No | 12
B.04 | Fixed network camera, pre-gate C&C, approach and queue | No | 8
B.05 | Fixed network camera, inter-gate queue and GOS handoff | No | 6
B.06 | Fixed network camera, estate outbound monitoring | No | 4
B.07 | Fixed network camera, administrative gate, turnstiles and car park | No | 12
B.08 | Thermal imaging camera, quay face, 1200 m human detection | No | 8
B.09 | PTZ network camera, long range, waterside assessment | No | 6
B.10 | Fixed network camera, yard interior | No | 46
B.11 | Fixed network camera, buildings and doors | No | 25
B.12 | Camera mounting pole, 8 m, hot-dip galvanised, including foundation and access | No | 78
B.13 | Camera mounting pole, 12 m, hot-dip galvanised, including foundation and access | No | 22
B.14 | Pole-mounted junction box, NEMA 4X stainless | No | 100
B.15 | Bird deterrent to camera housing | No | 178
B.16 | Video management system software licence, per camera | No | 178
B.17 | VMS recording server | No | 2
B.18 | VMS management and failover server | No | 1
B.19 | Video storage array, complete with controllers, 450 TB raw | Set | 1
B.20 | AI analytics server, GPU equipped, forensic search and cross-camera tracking | No | 2
B.21 | Surface radar, waterside, complete with pole and foundation | No | 1
B.22 | AIS receiver, complete with antenna | No | 1
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## C - Security Pre-Gate
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
C.01 | Pre-gate lane, complete with canopy, island, kerbs and line marking | No | 4
C.02 | OCR portal, inbound, licence plate and chassis identification | Set | 1
C.03 | RFID tractor tag reader, lane mounted | No | 4
C.04 | TWIC credential reader, lane mounted, weatherproof pedestal | No | 4
C.05 | Driver intercom station, lane mounted | No | 4
C.06 | Inspection lay-by, complete with lighting and hard standing | No | 1
C.07 | Command and Control station fit-out, 2 operator positions | Set | 1
C.08 | Duress button, C&C operator position | No | 2
C.09 | Overhead lane signal, red/green, per lane | No | 4
C.10 | Lane approach lighting to pre-gate | LF | 400
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## D - Access Control
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
D.01 | Access control panel, UL 294 listed, 16 reader capacity | No | 8
D.02 | Full-height turnstile lane, stainless steel 316, marine grade | No | 6
D.03 | Accessible swing gate, credential controlled both sides | No | 3
D.04 | TWIC credential reader, pedestrian duty | No | 18
D.05 | Access control system software licence, per credential holder | No | 1800
D.06 | Credential enrolment station, complete with camera and printer | No | 2
D.07 | Duress button, turnstile bank | No | 3
D.08 | Emergency intercom tower, personnel routes | No | 4
D.09 | Door position switch and electric lock set, building doors | No | 42
D.10 | Fire alarm interface relay, fail-safe, hardwired | No | 12
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## E - Gates and Barriers
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
E.01 | Crash-rated sliding gate, ASTM F2656 M50/P1, 24 ft clear opening, complete with operator and foundation | No | 3
E.02 | Crash-rated sliding gate, ASTM F2656 M50/P1, 16 ft clear opening, complete with operator and foundation | No | 2
E.03 | Vertical arm barrier, complete with operator and foundation | No | 12
E.04 | Safety loop and photocell set, per barrier | Set | 12
E.05 | Gate and barrier local control station | No | 5
E.06 | Manual release mechanism, emergency | No | 17
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## F - Security Operations Centre
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
F.01 | SOC fit-out, 2200 sq ft, including partitions, ceiling, flooring and decoration | Set | 1
F.02 | Operator console, 4 display positions | No | 4
F.03 | Video wall display, 55 inch, narrow bezel | No | 15
F.04 | Video wall mounting structure and controller | Set | 1
F.05 | Equipment rack, 42U, complete with PDUs and cable management | No | 6
F.06 | Precision cooling unit, N+1, equipment room | Set | 1
F.07 | PSIM platform licence and configuration | Set | 1
F.08 | Equipment room earthing grid and bonding | Set | 1
F.09 | Raised access floor, equipment room | SF | 400
F.10 | Acoustic treatment, operations floor, to 35 dBA | Set | 1
F.11 | Training room audio-visual installation | Set | 1
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## G - Network and Cabling
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
G.01 | Outdoor field cabinet, NEMA 4X stainless, thermostatically controlled, complete with plinth | No | 12
G.02 | PoE switch, industrial, field cabinet mounted | No | 12
G.03 | Core switch, redundant pair | Set | 1
G.04 | Aggregation switch | No | 4
G.05 | Single-mode fibre backbone cable, armoured, direct buried | LF | 14500
G.06 | Fibre splice enclosure, buried | No | 26
G.07 | Duct, 4 way, including excavation, bedding and reinstatement | LF | 11200
G.08 | Draw pit, complete with cover to HA loading | No | 88
G.09 | Cat 6A cable, outdoor rated | LF | 42000
G.10 | Surge protection device, fibre and copper, both ends | No | 356
G.11 | Certificate management appliance | Set | 1
G.12 | Network access control appliance, 802.1X | Set | 1
G.13 | Next generation firewall, redundant pair | Set | 1
G.14 | Cable labelling and as-built cable schedule to TIA-606 | Set | 1
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## H - Power
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
H.01 | Uninterruptible power supply, 40 kVA, complete with batteries | No | 2
H.02 | Standby generator, 250 kW diesel, NFPA 110, complete with acoustic enclosure | No | 1
H.03 | Fuel tank, 72 hour capacity, bunded | Set | 1
H.04 | Automatic transfer switch | No | 1
H.05 | Security power distribution board, separately metered | No | 4
H.06 | Field cabinet UPS, 30 minute autonomy | No | 12
H.07 | Generator load bank test, witnessed | Set | 1
NO PRICES TO BE ENTERED IN THIS DOCUMENT

## I - Civil and Builder's Work
ALDRIDGE HARBOR PORT AUTHORITY
Kessler Point Marine Terminal — Perimeter Security, Access Control and Surveillance Systems
DOCUMENT 7 OF 13 — BILL OF QUANTITIES
Solicitation AHPA-2026-IFB-0417 · Rev 0 · 14 September 2026
SENSITIVE SECURITY INFORMATION — 49 CFR PART 1520
Item No. | Description | Unit | Quantity
I.01 | Excavation in made ground, including disposal of contaminated material | CY | 2400
I.02 | Concrete foundation, camera pole | No | 100
I.03 | Concrete foundation, gate and barrier | No | 17
I.04 | Reinstatement of terminal pavement, heavy duty | SF | 18000
I.05 | Utility location survey prior to excavation | Set | 1
I.06 | Topographic and as-built survey | Set | 1
I.07 | Temporary security fencing during sector works | LF | 1200
I.08 | Hurricane tie-down provision to pole mounted equipment | No | 100
NO PRICES TO BE ENTERED IN THIS DOCUMENT